# Extension vessel Simply Compresso CD 80 E

Secondary vessel 80 l for the extension of the Simply Compresso including flex tube for the water-side and assembly kit for the air-side connection of the Simply Compresso TecBox.

5 year warranty

Max. Temperature		70°C

Min. Temperature		5°C

Volume				80 liter

Producer:			IMI-Pneumatex

Type:				Simply Compresso CD 80.9 E

Max. Pressure 			9 bar

Art.-No:               		30102141003