# Pneumatex Magnet Zeparo G-Force ZIMA DN 65 - DN 300

For on-site mounting in Zeparo G-Force separators for heating, solar and cooling systems.

T-piece with magnetic rod and immersion sleeve for increased magnetite separation.

Max. Temperature: 	110°C

Producer: 		IMI Pneumatex

Type:			Zeparo G-Force ZIMA DN 65 - DN 100

Art. No.                	788 0100

Type:			Zeparo G-Force ZIMA DN 125 - DN 200

Art. No.                	788 0200

Type:			Zeparo G-Force ZIMA DN 250

Art. No.                	788 0250

Type:			Zeparo G-Force ZIMA DN 300

Art. No.                	788 0300