# Automatic dirt separator Zeparo G-Force F 
DN 65-300 PN16

Version Dirt, Cyclone design, for heating and cooling water systems.

Antifreeze additive up to 50%.

Unique cyclone technology with up to 9 times better separation performance than conventional systems.

Separation of particles with a minimum size of 5µm.

Efficiency increases with increasing flow rate.

No clogging as with filters. Secluded dirt is collected and separated in the separation chamber.

Prepared to mount a magnetic rod.

Horizontal and vertical mounting.

Desludging valve with cap for connecting a hose can be mounted in 4 positions

Flanges:		DN 65 - DN 300 according to EN 1092-1

Housing: 		Steel. Colour beryllium

Max. Pressure: 		16 bar

Max. Temperature: 	110°C

Min. Temperature:	-10°C

Producer:		IMI Pneumatex

Type:			Zeparo G-Force F DN 65 PN16

Art. No.                	333 4114 1000

Flanges:		DN 65 according to EN 1092-1

Type:			Zeparo G-Force F DN 80 PN16

Art. No.                	333 4114 1100

Flanges:		DN 80 according to EN 1092-1

Type:			Zeparo G-Force F DN 100 PN16

Art. No.                	333 4114 1200

Flanges:		DN 100 according to EN 1092-1

Type:			Zeparo G-Force F DN 150 PN16

Art. No.                	333 4114 1400

Flanges:		DN 150 according to EN 1092-1

Type:			Zeparo G-Force F DN 200 PN16

Art. No.                	333 4114 1500

Flanges:		DN 200 according to EN 1092-1

Type:			Zeparo G-Force F DN 125 PN16

Art. No.                	333 4114 1300

Flanges:		DN 125 according to EN 1092-1

Type:			Zeparo G-Force F DN 250 PN16

Art. No.                	333 4114 1600

Flanges:		DN 250 according to EN 1092-1

Type:			Zeparo G-Force F DN 300 PN16

Art. No.                	333 4114 1700

Flanges:		DN 300 according to EN 1092-1